## Slide 1
SOFT SENSOR WWTP
DESIGN CREDIT PROJECT
By-
Harsh Raj (B21CH008)
Jahnavi Pandey (B21CH010)
Kachhawa Goutham(B21CH011)

## Slide 2
TABLE OF CONTENT
  Objective and Aim
  Motivation Behind the project
  Approach
  Results
  Conclusion

## Slide 3
OBJECTIVE
  To develop predictive models for accurately estimating fluoride concentrations in the effluent of an urban water treatment plant (WTP). Using machine learning techniques like Linear Regression, Decision Tree, and Random Forest, the project seeks to determine the most effective model for guiding decision-making processes.
SPECIFIC AIMS
  Evaluate and compare the performance of several predictive models on the dataset.
  Identify key factors that significantly impact the predicted outcomes.
  Optimize model parameters to enhance prediction accuracy.

## Slide 4
MOTIVATION BEHIND THE PROJECT
  Improving WTP Operational Efficiency: Utilizing predictive models to forecast fluoride levels can help optimize treatment processes, reducing the need for excessive chemical use and minimizing treatment costs.
  Innovative Approach in Soft Sensor Technology: By applying machine learning techniques, specifically a multi-layer perceptron neural network, the research explores innovative methods in soft sensor technology, contributing to the field of environmental engineering.
  Reducing Dependency on Lab Measurements: Developing a model that reduces the reliance on frequent laboratory measurements, which are costly and time-consuming, by providing real-time monitoring capabilities.
  Cost Efficiency: Implementing predictive models could significantly reduce operational costs by minimizing the need for physical and chemical tests, which often require expensive equipment and reagents.

## Slide 5
APPROACH
  Data Collection
  Gathered water quality data including chlorine, turbidity, pH, color, and fluoride levels.
  Data Preprocessing
  Cleaned and preprocessed the data to address issues with missing values .
  Model Selection
  Implemented various machine learning models including: Linear Regression, Random Forest, Decision Tree, Neural Networks (NN), Recurrent Neural Networks (RNN),Long Short-Term Memory (LSTM) networks.

## Slide 6
APPROACH
  Model Training and Evaluation
  Each model was trained on the dataset and their performance was evaluated using Mean Squared Error, Root Mean Squared Error and Mean Absolute Error:
  Model Comparison
  Compared the performance of the different models to determine the most accurate and reliable model for predicting water quality.

## Slide 7
STEADY STATE MODELS
LINEAR REGRESSION

## Slide 8
STEADY STATE MODELS
RANDOM FOREST REGRESSOR

## Slide 9
STEADY STATE MODELS
DECISION TREE REGRESSION MODEL

## Slide 10
COMPARISON

## Slide 11
DYNAMIC MODELS
RECURRENT NEURAL NETWORK

## Slide 12
DYNAMIC MODELS
LONG SHORT-TERM MEMORY

## Slide 13
CONCLUSION
  The soft sensors used can overcome the drawbacks of high cost and long time needed in traditional measurement methods.
  The learning accuracy of the models was compared, among which the predicted value of RNN is highly fit to the true value for the given dataset.
  The reliability of the models used can be increased when the number and representativeness of the available samples increases.
  The model algorithm with the best performance after screening is validated and calibrated by data to reflect the accuracy and robustness of the model prediction

## Slide 14
THANK YOU
Reference:https://home.isr.uc.pt/~fasouza/jpc2013_FranciscoSouza.pdf